Malate Dehydrogenase 
Enzyme Assay

1.	If using computers, the Vernier UV-VIS Spectrophotometer requires Logger Pro version 3.8.6.2 or newer. LabQuest App version 2.1, or newer, is required if you are using LabQuest 2. LabQuest App 1.7, or newer, is required if you are using the original LabQuest. Visit the downloads section of www.vernier.com to update your software.

2.	It is recommended that you read the Vernier UV-VIS Spectrophotometer user guide before beginning this, or any, experiment with the instrument.

3.	The oxaloacetic acid and NADH are unstable. They should be freshly prepared and stored in an ice bath during use.

4.	The MDH enzyme should be stored in an ice bath during use.

5.	MDH concentrations should be prepared to 0.2–0.5 unit/mL freshly in 0.1 M phosphate buffer pH 7.4. The rate of decrease should be between 0.02 and 0.04 ΔA340/min. MDH concentrations are highly dependent on the activity of the enzyme, which varies based on manufacturer and species. Therefore, no specific concentration is listed. It is strongly suggested that you run the experiment beforehand to ensure the proper concentrations for your specific enzyme. The concentration used in the sample data below is 10 mg/mL.

6.	NADH may vary in salt form and degree of hydration. It is important to get an analytical grade and to use the correct molecular weight for the specific NADH you purchase.

Sample Data

|  | ΔA340/s | ΔA340/min |
| --- | --- | --- |
| Run 1 | –0.00116 | –0.0696 |
| Run 2 | –0.00117 | –0.0702 |
| Run 3 | –0.00121 | –0.0726 |
| Average of 3 runs | –0.00118 | –0.0708 |

ANSWERS TO THE DATA ANALYSIS QUESTIONS

1.	Answers will vary. See table above.

2.	Answers will vary. See table above.

3.	Answers will vary. See table above.

4.	Answers will vary. For the sample data, the activity of MDH is 0.21 Units/mg.

Sample graphs

Raw kinetic traces for MDH assay

Zoomed in view of initial linear portion of kinetic traces 
and fit for one kinetic trace of MDH assay