Malate Dehydrogenase 
Enzyme Assay

The primary objective of this experiment is to gain experience with assaying enzyme activity. Malate dehydrogenase (MDH) is an important enzyme in numerous organisms. It is essential to numerous metabolic pathways because it reversibly catalyzes the oxidation of malate to oxaloacetate using the reduction of NAD+ to NADH. Many enzymes require the use of a coenzyme, such as NADH, to catalyze their reactions. NADH is a particularly useful coenzyme when attempting to assay an enzyme because it absorbs 340 nm light. In addition, its counterpart NAD+ does not absorb 340 nm light. Therefore, you can measure the catalytic activity of numerous NADH-dependent enzymes by watching the absorbance change as a function of time when the substrate and enzyme are added together in a particular environment that causes the interchange of NADH to NAD+.

To determine the activity of the MDH enzyme, you will observe the decrease in NADH absorbance over time. The activity of an enzyme is defined in Units/mg. One unit of MDH oxidizes one micromole of NADH per minute at 25°C and pH 7.4 under the specified conditions.

OBJECTIVES

In this experiment, you will

- Spectrophotometrically observe the changes in NADH concentration over the course of an enzyme reaction.

- From the NADH concentration, determine the activity of the MDH in Units/mg.

MATERIALS

| LabQuest or computer | micropipetters and tips |
| --- | --- |
| LabQuest App or Logger Pro | quartz cuvette(s) |
| Vernier UV-VIS Spectrophotometer | Parafilm |
| 0.1 M potassium phosphate buffer, pH 7.4 | 0.14 mM β-NADH, freshly prepared in 0.1 M phosphate buffer pH 7.4 |
| 0.076 M oxaloacetate, freshly prepared in 0.1 M phosphate buffer pH 7.4 | prepared malate dehydrogenase enzyme solution |
| lint-free tissue |  |

PROCEDURE

1.	Obtain and wear goggles and gloves.

2.	Connect the AC power supply to the Vernier UV-VIS Spectrophotometer. Turn the power switch to the ON position.

3.	When the LED for the lamp indicator stays green, connect the spectrophotometer to the USB port of LabQuest or a computer. Start the data-collection program, and then choose New from the File menu.

4.	Calibrate the spectrophotometer.

- To calibrate the spectrophotometer, choose Calibrate ► Spectrometer from the Sensors menu of LabQuest or the Experiment menu of Logger Pro. Note: For best results, allow the spectrophotometer to warm up for a minimum of 10 minutes.

- For your blank sample, fill an empty quartz cuvette with ~ 3 mL of phosphate buffer.

- After the spectrophotometer has warmed up, place the blank in the spectrophotometer. Align the cuvette so that one of its clear sides is facing the light source.

- Select Finish Calibration. Select OK.

5.	Determine the optimum wavelength for examining the absorbance of NADH.

- Remove the blank cuvette from the spectrophotometer. Empty the cuvette.

- Fill the empty quartz cuvette with 2.8 mL of the β-NADH solution using a micropipette.

- Add 100 µL of oxaloacetate to the cuvette using a micropipette. Cap the cuvette or seal with parafilm and gently invert it twice. Note: Do not use a deep or rubber-lined cap as enzyme and/or substrate may get trapped and skew reaction rates in subsequent steps.

- Place the cuvette in the spectrophotometer. Start data collection. A full spectrum graph of the solution will be displayed. Note that one area of the graph contains a peak absorbance. Stop data collection.

- Leave the cuvette in the spectrophotometer.

6.	Set up the time-based data-collection mode.

Logger Pro (If you are using LabQuest App, see below)

- Click the Configure Spectrometer Data Collection button, .

- Select Absorbance vs. Time as the data-collection mode. The wavelength of maximum absorbance will be selected. Verify that the maximum absorbance is close to 340 nm. If it is not, select 340 nm on the graph or in the list of wavelengths. Click  to continue.

- A message will appear warning you to either store or discard the full spectrum run. Storing the full spectrum run will show the full spectrum as the top graph with your kinetic trace on the bottom graph. Make your choice and proceed.

- The default settings are 1 sample per second for 200 seconds. For the first trial of this experiment, change the data-collection parameters by choosing Data Collection from the Experiment menu. Change the duration to 5 minutes and the data-collection rate to 30 samples per minute. You may want to change the duration and sampling rate in subsequent trials. Click .

- Proceed to Step 7.

LabQuest App

- On the Meter screen, tap Mode. Change the data-collection mode to Time Based.

- The default data collection rate for a kinetics experiment is 200 s and the data-collection rate to 1 data point every 2 s. Change the duration to 5 minutes and the data-collection rate 30 samples per minute. You may want to change the duration and sampling rate in subsequent trials. Select OK when you are ready to proceed.

- A message will appear warning you to either save or discard the full spectrum run. Make your choice and proceed.

- The peak absorbance is automatically selected from the spectrum collected previously. Verify that the maximum absorbance is close to 340 nm by looking at the wavelength listed on the Meter. To manually change the wavelength, tap on the Meter itself, and select Change wavelength. Enter the wavelength of your choice and select OK. If the wavelength you type in is not measured by the UV-VIS unit, LabQuest will automatically choose the wavelength closest to your choice.

7.	Collect data. Do the following quickly and carefully.

- Using a micropipette, add 100 µL of the enzyme solution to the cuvette that is in the spectrophotometer. Your total volume of solution should now be 3.0 mL.

- Cap the cuvette with a piece of parafilm and gently invert it twice. Note: Do not use a deep or rubber-lined cap as enzyme and/or substrate may get trapped and skew reaction rates.

- Place the cuvette in the spectrophotometer.

- Start data collection. Once the run is complete, remove the cuvette and dispose of the contents. Rinse the cuvette thoroughly.

8.	Store the run. In Logger Pro, do this by choosing Store Latest Run from the Experiment menu. In LabQuest App, you can store a run by tapping the file cabinet icon.

9.	Repeat Steps 7 and 8 two more times.

10.	(Optional) Print or save your data.

DATA table

|  | ΔA340/s | ΔA340/min |
| --- | --- | --- |
| Run 1 |  |  |
| Run 2 |  |  |
| Run 3 |  |  |
| Average of 3 runs |  |  |

DATA ANALYSIS

1.	Perform a linear fit on the initial linear portion of the graph for each data run. Record the rate of reaction, in ΔA340/s, in the table above. Note: Be consistent and use the same time range as your initial linear fit for all trials.

2.	Convert each ΔA340/s to ΔA340/min. Add it to the table above.

3.	Calculate your average rate in ΔA340/min for the three trials. Add it to the table above.

Units/mg=ΔA340/min6.22×mg enzyme/mL reaction mixture4.	Using your average rate and the following equation, calculate the activity of MDH in Units/mg.